{"text_format":"3","workbook":"xls","n_sheets":11,"sheets":["1.1 D.1 建设项目最高投标限价汇总表","1.2 D.1 建设项目投标报价汇总表","2.1 D.2 单项工程最高投标限价汇总表","3.1 D.3 单位工程最高投标限价汇总表","3.2 E.1 分部分项工程量清单计价表(所有标题)","3.3 附录F 措施项目清单计价表","3.4 附录G 不可竞争项目清单与计价表","3.5 H.1 其他项目清单与计价汇总表","3.6 H.3 专业工程暂估价计价表","3.7 附录I 税金计价表","3.8 材料汇总表"],"not_rendered":{"external_links":1,"defined_names":11},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 D.1 建设项目最高投标限价汇总表","index":0,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]],"flags":["formulas_cached_only"]}
["D.1 建设项目最高投标限价汇总表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"第1页 共1页"]
["序号","单项工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","全椒扬子配电增容项目",null,null,"319344.78","6000.00",null,"1885.93"]
{"$rows_empty":37}
["合计",{"$nulls":3},"319344.78","6000.00",null,"1885.93"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：本表适用于建设项目最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"1.2 D.1 建设项目投标报价汇总表","index":1,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]],"flags":["formulas_cached_only"]}
["D.1 建设项目投标报价汇总表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"第1页 共1页"]
["序号","单项工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","全椒扬子配电增容项目",null,null,"319344.78","6000.00",null,"1885.93"]
{"$rows_empty":37}
["合计",{"$nulls":3},"319344.78","6000.00",null,"1885.93"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：本表适用于建设项目最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"2.1 D.2 单项工程最高投标限价汇总表","index":2,"n_rows":46,"n_cols":8,"rows_kept":46,"merged":[[0,0,0,7],[1,0,1,2],[1,6,1,7],[2,0,3,0],[2,1,3,3],[2,4,3,4],[2,5,2,7],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[42,0,42,3],[42,5,42,6],[44,2,44,7],[45,0,45,7]],"flags":["formulas_cached_only"]}
["D.2 单项工程最高投标限价汇总表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"第1页 共1页"]
["序号","单位工程名称",null,null,"金额(元)","其中：（元）"]
[{"$nulls":5},"暂估价",null,"不可竞争费"]
["1","全椒扬子配电增容项目",null,null,"319344.78","6000.00",null,"1885.93"]
{"$rows_empty":37}
["合计",{"$nulls":3},"319344.78","6000.00",null,"1885.93"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：本表适用于单项工程最高投标限价或投标报价的汇总。暂估价包括分部分项工程中的材料、设备暂估价和专业工程暂估价。"]

{"sheet":"3.1 D.3 单位工程最高投标限价汇总表","index":3,"n_rows":44,"n_cols":7,"rows_kept":44,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,5],[2,1,2,3],[2,5,2,6],[3,1,3,3],[3,5,3,6],[4,1,4,3],[4,5,4,6],[5,1,5,3],[5,5,5,6],[6,1,6,3],[6,5,6,6],[7,1,7,3],[7,5,7,6],[8,1,8,3],[8,5,8,6],[9,1,9,3],[9,5,9,6],[10,1,10,3],[10,5,10,6],[11,1,11,3],[11,5,11,6],[12,1,12,3],[12,5,12,6],[13,1,13,3],[13,5,13,6],[14,1,14,3],[14,5,14,6],[15,1,15,3],[15,5,15,6],[16,1,16,3],[16,5,16,6],[17,1,17,3],[17,5,17,6],[18,1,18,3],[18,5,18,6],[19,1,19,3],[19,5,19,6],[20,1,20,3],[20,5,20,6],[21,1,21,3],[21,5,21,6],[22,1,22,3],[22,5,22,6],[23,1,23,3],[23,5,23,6],[24,1,24,3],[24,5,24,6],[25,1,25,3],[25,5,25,6],[26,1,26,3],[26,5,26,6],[27,1,27,3],[27,5,27,6],[28,1,28,3],[28,5,28,6],[29,1,29,3],[29,5,29,6],[30,1,30,3],[30,5,30,6],[31,1,31,3],[31,5,31,6],[32,1,32,3],[32,5,32,6],[33,1,33,3],[33,5,33,6],[34,1,34,3],[34,5,34,6],[35,1,35,3],[35,5,35,6],[36,1,36,3],[36,5,36,6],[37,1,37,3],[37,5,37,6],[38,1,38,3],[38,5,38,6],[39,1,39,3],[39,5,39,6],[40,1,40,3],[40,5,40,6],[41,0,41,3],[41,5,41,6],[43,2,43,6]],"flags":["formulas_cached_only"]}
["D.3 单位工程最高投标限价汇总表"]
["工程名称：全椒扬子配电增容项目",null,null,"标段：",null,null,"第1页 共1页"]
["序号","汇总内容",null,null,"金额(元)","其中：材料、设备暂估价（元）"]
["1","分部分项工程费",null,null,"284379.46",""]
["2","措施项目费",null,null,"711.47",""]
["2.1","  夜间施工增加费",null,null,"56.47",""]
["2.2","  二次搬运费",null,null,"112.93",""]
["2.3","  冬雨季施工增加费",null,null,"79.05",""]
["2.4","  已完工程及设备保护费",null,null,"33.88",""]
["2.5","  工程定位复测费",null,null,"67.76",""]
["2.6","  非夜间施工照明费",null,null,"67.76",""]
["2.7","  临时保护设施费",null,null,"11.29",""]
["2.8","  赶工措施费",null,null,"282.33",""]
["3","不可竞争费",null,null,"1885.93",""]
["3.1","  安全文明施工费",null,null,"1885.93",""]
["3.2","  环境保护税",null,null,"",""]
["4","其他项目",null,null,"6000.00",""]
["4.1","  暂列金额",null,null,"",""]
["4.2","  专业工程暂估价",null,null,"6000.00",""]
["4.3","  计日工",null,null,"",""]
["4.4","  总承包服务费",null,null,"",""]
["5","税金",null,null,"26367.92",""]
{"$rows_empty":19}
["工程造价=1+2+3+4+5",{"$nulls":3},"319344.78",""]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.2 E.1 分部分项工程量清单计价表(所有标题)","index":4,"n_rows":83,"n_cols":14,"rows_kept":83,"merged":[[0,0,0,13],[1,0,1,5],[1,6,1,10],[1,11,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,4],[2,5,4,6],[2,7,4,7],[2,8,2,13],[3,8,4,8],[3,9,4,9],[3,10,3,13],[4,10,4,11],[5,0,6,0],[5,1,6,1],[5,2,6,3],[5,4,6,4],[5,5,6,6],[5,7,6,7],[5,8,6,8],[5,9,6,9],[5,10,6,11],[5,12,6,12],[5,13,6,13],[7,0,8,0],[7,1,8,1],[7,2,8,3],[7,4,8,4],[7,5,8,6],[7,7,8,7],[7,8,8,8],[7,9,8,9],[7,10,8,11],[7,12,8,12],[7,13,8,13],[9,0,10,0],[9,1,10,1],[9,2,10,3],[9,4,10,4],[9,5,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,9],[9,10,10,11],[9,12,10,12],[9,13,10,13],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,4],[11,5,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,9],[11,10,12,11],[11,12,12,12],[11,13,12,13],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,4],[13,5,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,9],[13,10,14,11],[13,12,14,12],[13,13,14,13],[15,0,16,0],[15,1,16,1],[15,2,16,3],[15,4,16,4],[15,5,16,6],[15,7,16,7],[15,8,16,8],[15,9,16,9],[15,10,16,11],[15,12,16,12],[15,13,16,13],[17,2,17,3],[17,5,17,6],[17,10,17,11],[18,2,18,3],[18,5,18,6],[18,10,18,11],[19,2,19,3],[19,5,19,6],[19,10,19,11],[20,0,20,13],[21,3,21,13],[22,0,22,13],[23,0,23,5],[23,6,23,10],[23,11,23,13],[24,0,26,0],[24,1,26,1],[24,2,26,3],[24,4,26,4],[24,5,26,6],[24,7,26,7],[24,8,24,13],[25,8,26,8],[25,9,26,9],[25,10,25,13],[26,10,26,11],[27,0,28,0],[27,1,28,1],[27,2,28,3],[27,4,28,4],[27,5,28,6],[27,7,28,7],[27,8,28,8],[27,9,28,9],[27,10,28,11],[27,12,28,12],[27,13,28,13],[29,0,30,0],[29,1,30,1],[29,2,30,3],[29,4,30,4],[29,5,30,6],[29,7,30,7],[29,8,30,8],[29,9,30,9],[29,10,30,11],[29,12,30,12],[29,13,30,13],[31,0,32,0],[31,1,32,1],[31,2,32,3],[31,4,32,4],[31,5,32,6],[31,7,32,7],[31,8,32,8],[31,9,32,9],[31,10,32,11],[31,12,32,12],[31,13,32,13],[33,0,34,0],[33,1,34,1],[33,2,34,3],[33,4,34,4],[33,5,34,6],[33,7,34,7],[33,8,34,8],[33,9,34,9],[33,10,34,11],[33,12,34,12],[33,13,34,13],[35,2,35,3],[35,5,35,6],[35,10,35,11],[36,2,36,3],[36,5,36,6],[36,10,36,11],[37,2,37,3],[37,5,37,6],[37,10,37,11],[38,2,38,3],[38,5,38,6],[38,10,38,11],[39,2,39,3],[39,5,39,6],[39,10,39,11],[40,2,40,3],[40,5,40,6],[40,10,40,11],[41,2,41,3],[41,5,41,6],[41,10,41,11],[42,0,42,13],[44,3,44,13],[45,0,45,13],[46,0,46,5],[46,6,46,10],[46,11,46,13],[47,0,49,0],[47,1,49,1],[47,2,49,3],[47,4,49,4],[47,5,49,6],[47,7,49,7],[47,8,47,13],[48,8,49,8],[48,9,49,9],[48,10,48,13],[49,10,49,11],[50,0,51,0],[50,1,51,1],[50,2,51,3],[50,4,51,4],[50,5,51,6],[50,7,51,7],[50,8,51,8],[50,9,51,9],[50,10,51,11],[50,12,51,12],[50,13,51,13],[52,0,53,0],[52,1,53,1],[52,2,53,3],[52,4,53,4],[52,5,53,6],[52,7,53,7],[52,8,53,8],[52,9,53,9],[52,10,53,11],[52,12,53,12],[52,13,53,13],[54,2,54,3],[54,5,54,6],[54,10,54,11],[55,2,55,3],[55,5,55,6],[55,10,55,11],[56,2,56,3],[56,5,56,6],[56,10,56,11],[57,2,57,3],[57,5,57,6],[57,10,57,11],[58,2,58,3],[58,5,58,6],[58,10,58,11],[59,2,59,3],[59,5,59,6],[59,10,59,11],[60,2,60,3],[60,5,60,6],[60,10,60,11],[61,2,61,3],[61,5,61,6],[61,10,61,11],[62,2,62,3],[62,5,62,6],[62,10,62,11],[63,2,63,3],[63,5,63,6],[63,10,63,11],[64,2,64,3],[64,5,64,6],[64,10,64,11],[65,2,65,3],[65,5,65,6],[65,10,65,11],[66,2,66,3],[66,5,66,6],[66,10,66,11],[67,2,67,3],[67,5,67,6],[67,10,67,11],[68,2,68,3],[68,5,68,6],[68,10,68,11],[69,2,69,3],[69,5,69,6],[69,10,69,11],[70,2,70,3],[70,5,70,6],[70,10,70,11],[71,2,71,3],[71,5,71,6],[71,10,71,11],[72,2,72,3],[72,5,72,6],[72,10,72,11],[73,2,73,3],[73,5,73,6],[73,10,73,11],[74,2,74,3],[74,5,74,6],[74,10,74,11],[75,2,75,3],[75,5,75,6],[75,10,75,11],[76,2,76,3],[76,5,76,6],[76,10,76,11],[77,2,77,3],[77,5,77,6],[77,10,77,11],[78,2,78,3],[78,5,78,6],[78,10,78,11],[79,2,79,3],[79,5,79,6],[79,10,79,11],[80,2,80,3],[80,5,80,6],[80,10,80,11],[81,0,81,13],[82,3,82,13]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["1","030401002001","干式变压器",null,"1.名称：干式变压器安装（配电房建设，详见图纸设计）\n2.型号：SCB-630kVA（含外壳）\n3.工作内容：1#厂房新建安装，本体及附件安装、检查、接地","台",null,"1.000","148980.38","148980.38","1298.22",null,"183.27",""]
[]
["2","030402017001","高压成套配电总柜安装",null,"1.名称：高压进线兼总柜安装\n2.型号：10KV/630A\n3.工作内容：2#厂房箱变中安装，本体及附件安装、检查、接地","台",null,"1.000","19726.67","19726.67","916.58",null,"122.91",""]
[]
["3","030402017002","高压成套配电出线柜",null,"1.名称：高压出线柜安装\n2.型号：10KV/630A出线柜\n3.工作内容：2#厂房箱变中安装，本体及附件安装、检查、接地","台",null,"2.000","18726.67","37453.34","1833.16",null,"245.82",""]
[]
["4","030402017003","高压成套配电柜",null,"1.名称：1#厂房变压器总柜安装\n2.型号：10KV/630A进线兼出线（原2#厂房配电柜搬迁）\n3.工作内容：1#厂房安装，本体及附件安装、检查、接地","台",null,"1.000","1526.67","1526.67","916.58",null,"122.91",""]
[]
["5","WB030402004001","低压成套配电柜",null,"1.名称：低压总柜安装\n2.型号：GGD\n3.工作内容：1#厂房安装，本体及附件安装、检查、接地","台",null,"1.000","16749.78","16749.78","368.76",null,"145.43",""]
[]
["6","WB030402004002","低压成套配电柜",null,"1.名称：低压电容柜安装\n2.型号：GGD\n3.工作内容：1#厂房安装，本体及附件安装、检查、接地","台",null,"1.000","13749.78","13749.78","368.76",null,"145.43",""]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["7","WB030402004003","低压成套配电柜",null,"1.名称：低压出线柜安装\n2.型号：GGD（5路出线开关依据简易说明）\n3.工作内容：1#厂房安装，本体及附件安装、检查、接地","台",null,"1.000","14749.78","14749.78","368.76",null,"145.43",""]
[]
["8","030408001001","电力电缆",null,"1.名称：高压电缆安装（含电缆沟施工、穿墙管）；\n2.型号：扬子品牌YJV8.7/15KV3*50；\n3.工作内容：沿电缆沟敷设。","m",null,"85.000","204.74","17402.90","316.20",null,"75.65",""]
[]
["9","030408006001","电力电缆头",null,"1.名称：高压电缆头制作安装；\n2.型号：15KV-3*50；\n3.工作内容：制作电缆头、安装电缆头","个",null,"2.000","600.11","1200.22","105.00",null,"",""]
[]
["10","030409001001","接地极",null,"1.名称：接地极、扁铁安装；\n2.型号：接地极1500*50*50、接地扁铁50@5；\n3.工作内容：接地安装","根（块）",null,"6.000","88.89","533.34","134.40",null,"86.70",""]
[]
["11","030414001001","电力变压器系统",null,"1.名称：变压器交接性实验；\n2.型号：630KVA；\n3.工作内容：变压器实验","系统",null,"1.000","1332.24","1332.24","543.90",null,"422.48",""]
["12","030414011001","接地装置",null,"1.名称：接地交接性实验；\n2.型号：\n3.工作内容：接地实验","系统/组",null,"1.000","275.88","275.88","180.04",null,"5.63",""]
["13","030414015001","电缆试验",null,"1.名称：电力电缆交接性实验；\n2.型号：YJV22-10KV-3*50\n3.工作内容：电缆实验","次（根、点）",null,"1.000","1963.60","1963.60","1116.78",null,"284.85",""]
[]
[]
[]
[]
[]
[]
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["E.1 分部分项工程量清单计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":5},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述","计量\n单位",null,"工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价","其中"]
[{"$nulls":10},"定额\n人工费",null,"定额\n机械费","暂估价"]
["14","030701014001","除湿机",null,"1.名称：除湿机安装\n2.名称：220V/1.5KW\n3.工作内容：本体安装，插座、排线、镀锌管安装","台",null,"1.000","4592.13","4592.13","339.78",null,"401.57",""]
[]
["15","030701003001","空调器",null,"1.名称：空调安装\n2.名称：220V挂机\n3.工作内容：本体安装，插座、排线、镀锌管安装","台",null,"1.000","4142.75","4142.75","98.00",null,"",""]
{"$rows_empty":29}
[{"$nulls":3},"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.3 附录F 措施项目清单计价表","index":5,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基础","费率（%）",null,"金额（元）"]
["1","AC-01",null,"夜间施工增加费",null,"11293.00","0.500",null,"56.47"]
["2","AC-02",null,"二次搬运费",null,"11293.00","1.000",null,"112.93"]
["3","AC-03",null,"冬雨季施工增加费",null,"11293.00","0.700",null,"79.05"]
["4","AC-04",null,"已完工程及设备保护费",null,"11293.00","0.300",null,"33.88"]
["5","AC-05",null,"工程定位复测费",null,"11293.00","0.600",null,"67.76"]
["6","AC-06",null,"非夜间施工照明费",null,"11293.00","0.600",null,"67.76"]
["7","AC-07",null,"临时保护设施费",null,"11293.00","0.100",null,"11.29"]
["8","AC-08",null,"赶工措施费",null,"11293.00","2.500",null,"282.33"]
{"$rows_empty":30}
["合   计",{"$nulls":7},"711.47"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.4 附录G 不可竞争项目清单与计价表","index":6,"n_rows":44,"n_cols":9,"rows_kept":44,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,6],[1,7,1,8],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,7],[43,2,43,8]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目编码",null,"项目名称",null,"计算基数","费率（%）",null,"金额（元）"]
["1","AF-01",null,"环境保护费",null,"11293.00","1.780",null,"201.02"]
["2","AF-02",null,"文明施工费",null,"11293.00","6.100",null,"688.87"]
["3","AF-03",null,"安全施工费",null,"11293.00","4.220",null,"476.56"]
["4","AF-04",null,"临时设施费",null,"11293.00","4.600",null,"519.48"]
["5","AF-05",null,"环境保护税",null,"0","",null,""]
{"$rows_empty":33}
["合   计",{"$nulls":7},"1885.93"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.5 H.1 其他项目清单与计价汇总表","index":7,"n_rows":44,"n_cols":6,"rows_kept":44,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[2,1,2,3],[2,4,2,5],[3,1,3,3],[3,4,3,5],[4,1,4,3],[4,4,4,5],[5,1,5,3],[5,4,5,5],[6,1,6,3],[6,4,6,5],[7,1,7,3],[7,4,7,5],[8,1,8,3],[8,4,8,5],[9,1,9,3],[9,4,9,5],[10,1,10,3],[10,4,10,5],[11,1,11,3],[11,4,11,5],[12,1,12,3],[12,4,12,5],[13,1,13,3],[13,4,13,5],[14,1,14,3],[14,4,14,5],[15,1,15,3],[15,4,15,5],[16,1,16,3],[16,4,16,5],[17,1,17,3],[17,4,17,5],[18,1,18,3],[18,4,18,5],[19,1,19,3],[19,4,19,5],[20,1,20,3],[20,4,20,5],[21,1,21,3],[21,4,21,5],[22,1,22,3],[22,4,22,5],[23,1,23,3],[23,4,23,5],[24,1,24,3],[24,4,24,5],[25,1,25,3],[25,4,25,5],[26,1,26,3],[26,4,26,5],[27,1,27,3],[27,4,27,5],[28,1,28,3],[28,4,28,5],[29,1,29,3],[29,4,29,5],[30,1,30,3],[30,4,30,5],[31,1,31,3],[31,4,31,5],[32,1,32,3],[32,4,32,5],[33,1,33,3],[33,4,33,5],[34,1,34,3],[34,4,34,5],[35,1,35,3],[35,4,35,5],[36,1,36,3],[36,4,36,5],[37,1,37,3],[37,4,37,5],[38,1,38,3],[38,4,38,5],[39,1,39,3],[39,4,39,5],[40,1,40,3],[40,4,40,5],[41,0,41,3],[41,4,41,5],[43,2,43,5]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表"]
["工程名称：全椒扬子配电增容项目",null,null,"标段：",null,"第1页 共1页"]
["序号","项目名称",null,null,"金额(元)"]
["1","暂列金额",null,null,""]
["2","专业工程暂估价",null,null,"6000.00"]
["3","计日工",null,null,""]
["4","总承包服务费",null,null,""]
{"$rows_empty":34}
["合  计",{"$nulls":3},"6000.00"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.6 H.3 专业工程暂估价计价表","index":8,"n_rows":45,"n_cols":8,"rows_kept":45,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,5],[1,6,1,7],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[41,0,41,4],[41,5,41,6],[43,2,43,7],[44,0,44,7]],"flags":["formulas_cached_only"]}
["H.3 专业工程暂估价计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","工程名称",null,"工程内容",null,"金额(元)",null,"备注"]
["1","设计费",null,"蓝图设计",null,"4000.00"]
["2","控制价编制费",{"$nulls":3},"2000.00"]
{"$rows_empty":36}
["合  计",{"$nulls":4},"6000.00"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["说明：此表中“金额”由招标人填写。投标时，投标人应按招标人所列金额计入投标总价中。结算时按合同约定结算金额填写。"]

{"sheet":"3.7 附录I 税金计价表","index":9,"n_rows":43,"n_cols":9,"rows_kept":43,"merged":[[0,0,0,8],[1,0,1,3],[1,4,1,5],[1,6,1,8],[2,1,2,2],[2,3,2,4],[2,5,2,6],[3,1,3,2],[3,3,3,4],[3,5,3,6],[4,1,4,2],[4,3,4,4],[4,5,4,6],[5,1,5,2],[5,3,5,4],[5,5,5,6],[6,1,6,2],[6,3,6,4],[6,5,6,6],[7,1,7,2],[7,3,7,4],[7,5,7,6],[8,1,8,2],[8,3,8,4],[8,5,8,6],[9,1,9,2],[9,3,9,4],[9,5,9,6],[10,1,10,2],[10,3,10,4],[10,5,10,6],[11,1,11,2],[11,3,11,4],[11,5,11,6],[12,1,12,2],[12,3,12,4],[12,5,12,6],[13,1,13,2],[13,3,13,4],[13,5,13,6],[14,1,14,2],[14,3,14,4],[14,5,14,6],[15,1,15,2],[15,3,15,4],[15,5,15,6],[16,1,16,2],[16,3,16,4],[16,5,16,6],[17,1,17,2],[17,3,17,4],[17,5,17,6],[18,1,18,2],[18,3,18,4],[18,5,18,6],[19,1,19,2],[19,3,19,4],[19,5,19,6],[20,1,20,2],[20,3,20,4],[20,5,20,6],[21,1,21,2],[21,3,21,4],[21,5,21,6],[22,1,22,2],[22,3,22,4],[22,5,22,6],[23,1,23,2],[23,3,23,4],[23,5,23,6],[24,1,24,2],[24,3,24,4],[24,5,24,6],[25,1,25,2],[25,3,25,4],[25,5,25,6],[26,1,26,2],[26,3,26,4],[26,5,26,6],[27,1,27,2],[27,3,27,4],[27,5,27,6],[28,1,28,2],[28,3,28,4],[28,5,28,6],[29,1,29,2],[29,3,29,4],[29,5,29,6],[30,1,30,2],[30,3,30,4],[30,5,30,6],[31,1,31,2],[31,3,31,4],[31,5,31,6],[32,1,32,2],[32,3,32,4],[32,5,32,6],[33,1,33,2],[33,3,33,4],[33,5,33,6],[34,1,34,2],[34,3,34,4],[34,5,34,6],[35,1,35,2],[35,3,35,4],[35,5,35,6],[36,1,36,2],[36,3,36,4],[36,5,36,6],[37,1,37,2],[37,3,37,4],[37,5,37,6],[38,1,38,2],[38,3,38,4],[38,5,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[40,0,40,7],[42,2,42,8]],"flags":["formulas_cached_only"]}
["附录I 税金计价表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,"计算基数",null,"费率(％)","金额(元)"]
["1","增值税",null,"分部分项工程费+措施项目费+不可竞争费+其他项目费",null,"292976.86",null,"9.000","26367.92"]
{"$rows_empty":36}
["合  计",{"$nulls":7},"26367.92"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]

{"sheet":"3.8 材料汇总表","index":10,"n_rows":89,"n_cols":10,"rows_kept":89,"merged":[[0,0,0,9],[1,0,1,3],[1,4,1,6],[1,7,1,9],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,1,41,2],[41,3,41,4],[41,6,41,7],[42,0,42,9],[44,2,44,9],[45,0,45,9],[46,0,46,3],[46,4,46,6],[46,7,46,9],[47,1,47,2],[47,3,47,4],[47,6,47,7],[48,1,48,2],[48,3,48,4],[48,6,48,7],[49,1,49,2],[49,3,49,4],[49,6,49,7],[50,1,50,2],[50,3,50,4],[50,6,50,7],[51,1,51,2],[51,3,51,4],[51,6,51,7],[52,1,52,2],[52,3,52,4],[52,6,52,7],[53,1,53,2],[53,3,53,4],[53,6,53,7],[54,1,54,2],[54,3,54,4],[54,6,54,7],[55,1,55,2],[55,3,55,4],[55,6,55,7],[56,1,56,2],[56,3,56,4],[56,6,56,7],[57,1,57,2],[57,3,57,4],[57,6,57,7],[58,1,58,2],[58,3,58,4],[58,6,58,7],[59,1,59,2],[59,3,59,4],[59,6,59,7],[60,1,60,2],[60,3,60,4],[60,6,60,7],[61,1,61,2],[61,3,61,4],[61,6,61,7],[62,1,62,2],[62,3,62,4],[62,6,62,7],[63,1,63,2],[63,3,63,4],[63,6,63,7],[64,1,64,2],[64,3,64,4],[64,6,64,7],[65,1,65,2],[65,3,65,4],[65,6,65,7],[66,1,66,2],[66,3,66,4],[66,6,66,7],[67,1,67,2],[67,3,67,4],[67,6,67,7],[68,1,68,2],[68,3,68,4],[68,6,68,7],[69,1,69,2],[69,3,69,4],[69,6,69,7],[70,1,70,2],[70,3,70,4],[70,6,70,7],[71,1,71,2],[71,3,71,4],[71,6,71,7],[72,1,72,2],[72,3,72,4],[72,6,72,7],[73,1,73,2],[73,3,73,4],[73,6,73,7],[74,1,74,2],[74,3,74,4],[74,6,74,7],[75,1,75,2],[75,3,75,4],[75,6,75,7],[76,1,76,2],[76,3,76,4],[76,6,76,7],[77,1,77,2],[77,3,77,4],[77,6,77,7],[78,1,78,2],[78,3,78,4],[78,6,78,7],[79,1,79,2],[79,3,79,4],[79,6,79,7],[80,1,80,2],[80,3,80,4],[80,6,80,7],[81,1,81,2],[81,3,81,4],[81,6,81,7],[82,1,82,2],[82,3,82,4],[82,6,82,7],[83,1,83,2],[83,3,83,4],[83,6,83,7],[84,1,84,2],[84,3,84,4],[84,6,84,7],[86,0,86,7],[88,2,88,9]],"flags":["formulas_cached_only"]}
["材料汇总表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,null,"第1页 共2页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["0103A03B05CB","镀锌铁丝 φ2.5～4.0",null,"kg",null,"1.500","3.57",null,"5.36"]
["0113A01B00CB","镀锌扁钢（综合）",null,"kg",null,"35.060","3.85",null,"134.98"]
["0153A05B55CB","封铅 含铅65%锡35%",null,"kg",null,"1.020","22.22",null,"22.66"]
["0203A13B51BW","橡胶垫 δ2",null,"m2",null,"0.085","19.26",null,"1.64"]
["0213A09B01BY","密封带",null,"m",null,"3.500","0.68",null,"2.38"]
["0213A13B53BY","三色塑料带 20mm×40m",null,"m",null,"1.360","0.26",null,"0.35"]
["0227A05B01CB","白布",null,"kg",null,"1.685","6.67",null,"11.24"]
["0227A23B01CB","棉纱头",null,"kg",null,"2.900","6.00",null,"17.40"]
["0301A07B07C51CD","膨胀螺栓 M10",null,"10套",null,"1.360","2.50",null,"3.40"]
["0313A11B55BF","冲击钻头 φ12",null,"个",null,"0.085","6.75",null,"0.57"]
["0313A21B01CB","低碳钢焊条",null,"kg",null,"3.801","6.84",null,"26.00"]
["0313A34B99AT","砂轮片 φ400",null,"片",null,"2.000","8.97",null,"17.94"]
["0313A39B01AJ","钢锯条",null,"条",null,"13.000","0.34",null,"4.42"]
["0313A51B01CB","焊锡膏",null,"kg",null,"0.152","14.53",null,"2.21"]
["0313A53B01CB","焊锡丝",null,"kg",null,"0.760","54.10",null,"41.12"]
["0313A64B01AG","铁砂布 0～2号",null,"张",null,"2.000","0.85",null,"1.70"]
["0313A71B57BF","合金钢钻头 φ10",null,"个",null,"0.170","2.80",null,"0.48"]
["0315A21B39C01CB","平垫铁",null,"kg",null,"6.650","3.74",null,"24.87"]
["0315A21B53C01CB","斜垫铁",null,"kg",null,"2.093","3.50",null,"7.33"]
["0503A05B01BV","道木",null,"m3",null,"0.010","2137.00",null,"21.37"]
["1301A43B01CB","调和漆",null,"kg",null,"2.600","6.00",null,"15.60"]
["1305A43B01CB","防锈漆",null,"kg",null,"2.500","5.62",null,"14.05"]
["1305A97B01CB","沥青绝缘漆",null,"kg",null,"0.085","2.79",null,"0.24"]
["1307A15B01CB","酚醛调和漆",null,"kg",null,"2.500","7.90",null,"19.75"]
["1307A17B01CB","沥青清漆",null,"kg",null,"0.120","4.88",null,"0.59"]
["1403A05B01CB","汽油",null,"kg",null,"4.880","6.77",null,"33.04"]
["1407A09B01CB","机油",null,"kg",null,"0.700","19.66",null,"13.76"]
["1409A01B01CB","电力复合脂",null,"kg",null,"1.338","20.00",null,"26.76"]
["1409A09B01CB","黄油",null,"kg",null,"0.900","16.58",null,"14.92"]
["1431A02B01CB","硬脂酸",null,"kg",null,"0.085","8.41",null,"0.71"]
["1433A07B01CB","丙酮",null,"kg",null,"1.440","7.51",null,"10.81"]
["1433A41B01CB","酒精",null,"kg",null,"2.100","6.40",null,"13.44"]
["1435A93B01CB","金属清洗剂",null,"kg",null,"0.650","8.66",null,"5.63"]
["1439A19B01BV","氧气",null,"m3",null,"0.570","3.63",null,"2.07"]
["1439A25B01CB","乙炔气",null,"kg",null,"0.190","10.45",null,"1.99"]
["1443A43B67AX","自粘性橡胶带 25mm×20m",null,"卷",null,"0.894","14.79",null,"13.22"]
["1443A43B69AX","自粘性橡胶带 20mm×5m",null,"卷",null,"2.480","6.30",null,"15.62"]
["1825A33B91BF","固定卡子 φ90",null,"个",null,"4.120","1.99",null,"8.20"]
["2561A09B55BF","电珠 2.5V",null,"个",null,"0.400","0.51",null,"0.20"]
[]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]
["材料汇总表"]
["工程名称：全椒扬子配电增容项目",{"$nulls":3},"标段：",null,null,"第2页 共2页"]
["材料编号","材料名称",null,"单位",null,"材料用量","单价",null,"合价","暂估/甲供"]
["2717A01B51AX","电气绝缘胶带 18mm×10m×0.13mm",null,"卷",null,"1.100","8.55",null,"9.41"]
["2801A05B51CB","镀锡裸铜软绞线 TJRX 16mm2",null,"kg",null,"0.400","51.28",null,"20.51"]
["2801A33B05CB","硬铜绞线 TJ-2.5～4mm2",null,"m",null,"2.400","2.56",null,"6.14"]
["2803A35B63BY-1","铜芯塑料绝缘导线 BV-2.5mm2",null,"m",null,"24.000","1.32",null,"31.68"]
["2803A35B65BY","铜芯塑料绝缘电线 BV-4mm2",null,"m",null,"2.150","1.97",null,"4.24"]
["2803A47B63BY","铜芯橡皮绝缘电线 BX-2.5mm2",null,"m",null,"1.787","1.23",null,"2.20"]
["2909A19B52BF","铜接线端子 DT-16",null,"个",null,"2.040","1.70",null,"3.47"]
["2909A19B54BF","铜接线端子 DT-25",null,"个",null,"6.090","2.10",null,"12.79"]
["2925A01B51AK","镀锌电缆吊挂 3.0×50",null,"套",null,"6.044","2.99",null,"18.07"]
["2925A03B55AK","镀锌电缆卡子 2×35",null,"套",null,"19.907","2.26",null,"44.99"]
["3407A03B53AY","电池 1号",null,"节",null,"0.800","1.71",null,"1.37"]
["3413A01B01BF","标志牌",null,"个",null,"5.109","1.37",null,"7.00"]
["3709A05B00CB","钢垫板（综合）",null,"kg",null,"0.900","4.27",null,"3.84"]
["3709A05B03CB","钢垫板 δ1～2",null,"kg",null,"6.000","3.18",null,"19.08"]
["Z1701A03B53CB","镀锌钢管 DN50",null,"kg",null,"41.280","4.82",null,"198.97"]
["Z2811A03B01BY-7~1","电力电缆 电缆截面(mm2) ≤50",null,"m",null,"85.850","195.00",null,"16740.75"]
["Z2907A05B01AK-7~1","户内热（冷）缩式电缆终端头 电缆截面(mm2) ≤50",null,"套",null,"2.040","450.00",null,"918.00"]
["Z5501A03B01AN~1","低压柜、集装箱式配电室",null,"台",null,"1.000","16000.00",null,"16000.00"]
["Z5501A03B01AN~2","低压柜、集装箱式配电室",null,"台",null,"1.000","14000.00",null,"14000.00"]
["Z5501A03B01AN~3","低压柜、集装箱式配电室",null,"台",null,"1.000","13000.00",null,"13000.00"]
["Z5505A01B01AN~2","高压柜",null,"台",null,"2.000","17200.00",null,"34400.00"]
["Z5505A01B01AN~3","高压柜",null,"台",null,"1.000","18200.00",null,"18200.00"]
["Z5543A07B01AN~1","干式变压器",null,"台",null,"1.000","146800.00",null,"146800.00"]
["ZC0001","冷冻干燥机安装",null,"台",null,"1.000","3500.00",null,"3500.00"]
["ZC0003","空调器",null,"台",null,"1.000","4000.00",null,"4000.00"]
{"$rows_empty":13}
["合计",{"$nulls":7},"268500.53"]
[]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】"]